## Slide 1: POWER REDUNDANCY
Dr. John P. Abraham
Professor
UTPA

## Slide 2: This slide series is a summary of what we discussed in class.
Power
Broadband
Hard Drive
Backup
Cluster

## Slide 3: Redundant Array of Inexpensive Servers
RAIS stripes and mirrors application code and memory across an array of ordinary servers using the standard RAID schemata of level 0, level 1, level 5, level 1+0. This is possible through the invention of a radical new memory management system called Versioned Memory.
However, I want to start with the old fashioned way of achieving redundancy.

## Slide 4: Power Supply Redundancy
Power Source
  AC
  Generator
  Solar

## Slide 5: AC
Problem with spikes and browns
Should not have other appliances or devices connected to it.
Should have a direct circuit breaker
Use surge protection for the whole circuit.
I looked up Square D surge protector as an example.
Such outlets should be color coded (Orange or Red)

## Slide 6: Generator
Should maintain it properly. Must start it each week
Need to have a transfer switch. There is a time delay. Meanwhile your computer will go off.

## Slide 7: Solar with Battery back up
Need to have pure sine wave inverters to be used with electronic equipment.
You can connect these batteries to the UPS
Solar Array needs to have a voltage controller, to keep it from over charging the batteries.
Also needs to have a transfer switch.
You can also use APC Redundant Automatic Transfer switch or similar ones

## Slide 8: UPS
A must for all servers
Check the voltage and wattage rating
VA stands for voltage Amp – How much load a UPS can handle at any given time. This will tell you how many devices can be plugged in.

## Slide 9: UPS software
APC powerchute software
Powercom
Powershield
Notifies the server of the remaining power
Notifies administrator through text or email
Sends message to clients
Closes files and shuts down